## CA
RANGE | DISPLAY NAME | UPC CODE | DESCRIPTION | June 2023 MSRP
Indoor Thermostat | ODC-WUDG | 815846010096 | Dual Voltage 120/240v Programmable thermostat, w/ GFCI and floor sensor | 209
Indoor Thermostat | RFT-P-WH | 815846015954 | White Programable Thermostat with Touch Buttons and Probe. 15A. 85-265Vac/60Hz ETL-approved | 199
Indoor Thermostat | 4IE-V03WH | 5034526013256 | NAM 4iE Portrait White thermostat without WiFi | 241
Indoor Thermostat | TRA-04-WH-LC | 815846015978 | Warmup Terra Smart WiFi Thermostat, 120V/240V with sensor probe and instructions. White with GFCI. Do not connect on GFCI circuit or GFCI protected breaker. | 307
Indoor Thermostat | 6IE-04-CW-LC | 815846015961 | Warmup 6iE Smart WiFi Thermostat, 120V/240V with sensor probe and instructions. Cloud White with GFCI. Do not connect on GFCI circuit or GFCI protected breaker. | 320
Indoor-Accessories | DCM-SP-10K | 815846014100 | This floor probe is designed to work with Warmup's 4iE and Tempo thermostats. The 4.5mm tip diameter allows an easy installation within the Warmup DCM-PRO Membrane. | 27
Indoor-Accessories | RL-240V25A | 815846015305 | Warmup's RL-240V25A is a general purpose 240V coil relay. When used with Warmup’s 4iE-Terra-6iE controls series it can add an additional 3600 watts 15 amp load. Mounts in single gang box. Conforms to UL, CSA, TUV and meets IEC 950. | 114
Indoor-Accessories | RL-120V25A | 815846015633 | Warmup's RELAY-25 is a general purpose 25A/120V relay used to expand the switching capability of the 3iE-4iE controls series. Mounts in single gang box. Conforms to UL, CSA, TUV and meets IEC 950. | 110
Indoor-Accessories | ACC-DGMTR | 856604000867 | The Warmup ALLIGATOR is an ohmmeter with connectors that clip straight to the heating cable. The device constantly monitors the heating cables during installation and gives you the readings you need to complete the warranty and ensure a safe installation. | 30
Indoor-Accessories | ACC-00Watchdog | 856604000874 | Warmup Watchdog Cable Alarm (Continuity Tester) | 28
Indoor-Accessories | DCT-SBOX | 815846016104 | The Dual Cable Tester allows for two load-neutral-ground connections of heating cables of any voltages. It will measure resistance from 2 to 1000 Ohms to make sure the integrity of the heating cable has not been compromised. | 60
Indoor-Accessories | ACC-PLTL | 856604000850 | Plastic Trowel | 19
Indoor-Accessories | RK-EO | 815846015626 | Repair Kit for Outdoor Warmup ranges | 26
Indoor-Accessories | RK-ENDCAP | 856604000775 | Repair Kit-end cap 120/240v technical support supervisor approval only | 16
Indoor-Accessories | RK-JOINT | 856604000768 | Repair Kit factory joint 120/240v for Warmup NADCM, NADWS and NADWM heaters. | 16
Indoor-Accessories | RK-INDOOR | 856604000751 | Repair Kit-Standard (wire) 120/240v | 16
Accessories | DCM-FB-82 | 815846011567 | Metal Fixing Band for DCM, WODH and WSM cables (83ft) | 136
DCM Cable | DCM-120-65 | 815846014469 | DCM-PRO Electric Heating Cable, 65 Watts, 120 Volts, 0.5 Amps, 5ft². Use with fixing strips or uncoupling membrane, sold separately. | 182
DCM Cable | DCM-120-130 | 815846014476 | DCM-PRO Electric Heating Cable, 130 Watts,120 Volts, 1.1 Amps, 10ft² . Use with fixing strips or uncoupling membrane, sold separately. | 213
DCM Cable | DCM-120-195 | 815846014483 | DCM-PRO Electric Heating Cable, 195 Watts, 120 Volts, 1.6 Amps, 15ft². Use with fixing strips or uncoupling membrane, sold separately. | 258
DCM Cable | DCM-120-260 | 815846014490 | DCM-PRO Electric Heating Cable, 260 Watts, 120 Volts, 2.2 Amps, 20ft². Use with fixing strips or uncoupling membrane, sold separately. | 295
DCM Cable | DCM-120-325 | 815846014506 | DCM-PRO Electric Heating Cable, 325 Watts, 120 Volts, 2.7 Amps, 25ft². Use with fixing strips or uncoupling membrane, sold separately. | 332
DCM Cable | DCM-120-390 | 815846014513 | DCM-PRO Electric Heating Cable, 390 Watts, 120 Volts, 3.3 Amps, 30ft². Use with fixing strips or uncoupling membrane, sold separately. | 363
DCM Cable | DCM-120-525 | 815846014520 | DCM-PRO Electric Heating Cable, 525 Watts, 120 Volts, 4.4 Amps, 40ft². Use with fixing strips or uncoupling membrane, sold separately. | 436
DCM Cable | DCM-120-655 | 815846014537 | DCM-PRO Electric Heating Cable, 655 Watts, 120 Volts, 5.5 Amps, 50ft². Use with fixing strips or uncoupling membrane, sold separately. | 486
DCM Cable | DCM-120-785 | 815846014544 | DCM-PRO Electric Heating Cable, 785 Watts, 120 Volts, 6.5 Amps, 60ft². Use with fixing strips or uncoupling membrane, sold separately. | 536
DCM Cable | DCM-120-920 | 815846014551 | DCM-PRO Electric Heating Cable, 920 Watts, 120 Volts, 7.7 Amps, 70ft². Use with fixing strips or uncoupling membrane, sold separately. | 586
DCM Cable | DCM-120-1050 | 815846014568 | DCM-PRO Electric Heating Cable, 1050 Watts, 120 Volts, 8.8 Amps, 80ft². Use with fixing strips or uncoupling membrane, sold separately. | 647
DCM Cable | DCM-120-1180 | 815846014575 | DCM-PRO Electric Heating Cable, 1180 Watts, 120 Volts, 9.8 Amps, 90ft². Use with fixing strips or uncoupling membrane, sold separately. | 713
DCM Cable | DCM-120-1315 | 815846014582 | DCM-PRO Electric Heating Cable, 1315 Watts, 120 Volts, 11 Amps, 100ft².Use with fixing strips or uncoupling membrane, sold separately. | 776
DCM Cable | DCM-120-1445 | 815846014599 | DCM-PRO Electric Heating Cable, 1445 Watts, 120 Volts, 12 Amps, 110ft². Use with fixing strips or uncoupling membrane, sold separately. | 842
DCM Cable | DCM-120-1575 | 815846014605 | DCM-PRO Electric Heating Cable, 1575 Watts, 120 Volts,13.1 Amps, 120ft². Use with fixing strips or uncoupling membrane, sold separately. | 901
DCM Cable | DCM-240-195 | 815846015619 | DCM-PRO Electric Heating Cable, 195 Watts, 0.8 Amps, 240 Volts, 15ft². Use with fixing strips or uncoupling membrane, sold separately. | 253
DCM Cable | DCM-240-325 | 815846014612 | DCM-PRO Electric Heating Cable, 325 Watts, 1.4 Amps, 240 Volts, 25ft². Use with fixing strips or uncoupling membrane, sold separately. | 332
DCM Cable | DCM-240-390 | 815846014629 | DCM-PRO Electric Heating Cable, 390 Watts, 1.6 Amps, 240 Volts, 30ft². Use with fixing strips or uncoupling membrane, sold separately. | 362
DCM Cable | DCM-240-525 | 815846014636 | DCM-PRO Electric Heating Cable, 525 Watts, 2.2 Amps, 240 Volts, 40ft². Use with fixing strips or uncoupling membrane, sold separately. | 435
DCM Cable | DCM-240-655 | 815846014643 | DCM-PRO Electric Heating Cable, 655 Watts, 2.7 Amps, 240 Volts, 50ft².Use with fixing strips or uncoupling membrane, sold separately. | 487
DCM Cable | DCM-240-785 | 815846014650 | DCM-PRO Electric Heating Cable, 785 Watts, 3.3 Amps, 240 Volts, 60ft². Use with fixing strips or uncoupling membrane, sold separately. | 536
DCM Cable | DCM-240-920 | 815846014667 | DCM-PRO Electric Heating Cable, 920 Watts, 3.8 Amps, 240 Volts, 70ft². Use with fixing strips or uncoupling membrane, sold separately. | 585
DCM Cable | DCM-240-1050 | 815846014674 | DCM-PRO Electric Heating Cable, 1050 Watts, 4.4 Amps, 240 Volts, 80ft². Use with fixing strips or uncoupling membrane, sold separately. | 647
DCM Cable | DCM-240-1180 | 815846014681 | DCM-PRO Electric Heating Cable, 1180 Watts, 4.9 Amps, 240 Volts, 90ft². Use with fixing strips or uncoupling membrane, sold separately. | 692
DCM Cable | DCM-240-1310 | 815846014698 | DCM-PRO Electric Heating Cable, 1310 Watts, 5.5 Amps, 240 Volts, 100ft². Use with fixing strips or uncoupling membrane, sold separately. | 729
DCM Cable | DCM-240-1640 | 815846014704 | DCM-PRO Electric Heating Cable, 1640 Watts, 6.8 Amps, 240 Volts, 125ft². Use with fixing strips or uncoupling membrane, sold separately. | 806
DCM Cable | DCM-240-1970 | 815846014711 | DCM-PRO Electric Heating Cable, 1970 Watts, 8.2 Amps, 240 Volts, 150ft². Use with fixing strips or uncoupling membrane, sold separately. | 941
DCM Cable | DCM-240-2300 | 815846014728 | DCM-PRO Electric Heating Cable, 2300 Watts, 9.6 Amps, 240 Volts, 175ft².Use with fixing strips or uncoupling membrane, sold separately. | 1089
DCM Cable | DCM-240-2630 | 815846014735 | DCM-PRO Electric Heating Cable, 2630 Watts, 11 Amps, 240 Volts, 200ft². Use with fixing strips or uncoupling membrane, sold separately. | 1130
DCM Cable | DCM-240-2955 | 815846014742 | DCM-PRO Electric Heating Cable, 2955 Watts, 12.3 Amps, 240 Volts, 225ft². Use with fixing strips or uncoupling membrane, sold separately. | 1209
DCM Cable | DCM-240-3240 | 815846014759 | DCM-PRO Electric Heating Cable, 3240 Watts, 13.5 Amps, 240 Volts, 250ft². Use with fixing strips or uncoupling membrane, sold separately. | 1345
DCM | DCM-MW-80 | 815846015657 | DCM-PRO Fleece V3 mat, box of 2'6" x 3'3" sheets, 80sqft. | 271
DCM | DCM-MW-150 | 815846015664 | DCM-PRO V3 Fleece mat, roll of 150sqft, 3'3" tall. | 473
DCM | DCM-PSW-80 | 815846015671 | DCM-PRO Peel-and-Stick V3 Membrane, box of 2'6" x 3'3" sheets, 80sqft. | 302
DCM | DCM-PSW-150 | 815846015688 | DCM-PRO Peel-and-Stick Membrane V3, roll of 150sqft, 3'3" tall. | 486
DCM | DCM-PS-150 | 815846015398 | DCM-PRO Peel-and-Stick Membrane, roll of 150sqft, 3'3" tall. | 462
DCM-Accessories | DCM-WP-KIT | 815846015428 | Waterproofing kit for DCM-PRO membranes. Includes 35ft roll of tape and corners (6 in/2 out) | 199
DCM-Accessories | DCM-WP-B35 | 815846015848 | 35ft Waterproofing band for DCM-PRO installations | 56
DCM-Accessories | DCM-WP-IN | 815846015855 | QTY:2 of inside corners for waterproofing DCM-PRO installations | 24
DCM-Accessories | DCM-WP-OUT | 815846015862 | QTY:2 of outside corners for waterproofing DCM installations | 24
DCM-Accessories | DCM-E-82 | 5034526011405 | DCM-PRO, perimeter edge strip, 1.2'' x 0.4''. 82 ft roll | 42
Stickymat | DWM-09-120 | 815846013226 | 3ft Wide Warmup Underfloor Heating Mat, at 9sqft, 126 Watts, 1.05A | 269
Stickymat | DWM-15-120 | 815846013233 | 3ft Wide Warmup Underfloor Heating Mat, at 15sqft, 210 Watts, 1.75A | 338
Stickymat | DWM-18-120 | 815846013240 | 3ft Wide Warmup Underfloor Heating Mat, at 18sqft, 252 Watts, 2.1A | 391
Stickymat | DWM-24-120 | 815846013257 | 3ft Wide Warmup Underfloor Heating Mat, at 24 sqft, 336 Watts, 2.8A | 463
Stickymat | DWM-30-120 | 815846013264 | 3ft Wide Warmup Underfloor Heating Mat, at 30 sqft, 420 Watts, 3.5A | 511
Stickymat | DWM-120-140 | 815846012861 | Warmup Under Floor Mat Heater, 120V, 140W, 1.2 amps, Covers 10 sq ft of heated area | 278
Stickymat | DWM-120-210 | 815846012878 | Warmup Under Floor Mat Heater, 120V, 210W, 1.8 amps, Covers 15 sq ft of heated area | 338
Stickymat | DWM-120-280 | 815846012885 | Warmup Under Floor Mat Heater, 120V, 280W, 2.3 amps, Covers 20 sq ft of heated area | 399
Stickymat | DWM-120-350 | 815846012892 | Warmup Under Floor Mat Heater, 120V, 350W, 2.9 amps, Covers 25 sq ft of heated area | 462
Stickymat | DWM-120-420 | 815846012908 | Warmup Under Floor Mat Heater, 120V, 420W, 3.5 amps, Covers 30 sq ft of heated area | 511
Stickymat | DWM-120-560 | 815846012915 | Warmup Under Floor Mat Heater, 120V, 560W, 4.7 amps, Covers 40 sq ft of heated area | 608
Stickymat | DWM-120-700 | 815846012922 | Warmup Under Floor Mat Heater, 120V, 700W, 5.8 amps, Covers 50 sq ft of heated area | 734
Stickymat | DWM-120-840 | 815846012939 | Warmup Under Floor Mat Heater, 120V, 840W, 7.0 amps, Covers 60 sq ft of heated area | 849
Stickymat | DWM-120-1050 | 815846012946 | Warmup Under Floor Mat Heater, 120V, 1050W, 8.7 amps, Covers 75 sq ft of heated area | 1044
Stickymat | DWM-120-1260 | 815846012953 | Warmup Under Floor Mat Heater, 120V, 1260W, 10.5 amps, Covers 90 sq ft of heated area | 1210
Stickymat | DWM-120-1540 | 815846012960 | Warmup Under Floor Mat Heater, 120V, 1540W, 12.8 amps, Covers 110 sq ft of heated area | 1421
Stickymat | DWM-120-1620 | 815846012977 | Warmup Under Floor Mat Heater, 120V, 1620W, 13.5 amps, Covers 120 sq ft of heated area | 1499
Stickymat | DWM-240-350 | 815846012984 | Warmup Under Floor Mat Heater, 240V, 350W, 1.5 amps, Covers 25 sq ft of heated area | 462
Stickymat | DWM-240-560 | 815846012991 | Warmup Under Floor Mat Heater, 240V, 560W, 2.3 amps, Covers 40 sq ft of heated area | 608
Stickymat | DWM-240-700 | 815846013004 | Warmup Under Floor Mat Heater, 240V, 700W, 2.9 amps, Covers 50 sq ft of heated area | 734
Stickymat | DWM-240-1050 | 815846013011 | Warmup Under Floor Mat Heater, 240V, 1050W, 4.4 amps, Covers 75 sq ft of heated area | 1033
Stickymat | DWM-240-1260 | 815846013028 | Warmup Under Floor Mat Heater, 240V, 1260W, 5.3 amps, Covers 90 sq ft of heated area | 1210
Stickymat | DWM-240-1540 | 815846013035 | Warmup Under Floor Mat Heater, 240V, 1540W, 6.4 amps, Covers 110 sq ft of heated area | 1451
Stickymat | DWM-240-2100 | 815846013042 | Warmup Under Floor Mat Heater, 240V, 2100W, 8.8 amps, Covers 150 sq ft of heated area | 1834
Stickymat | DWM-240-2520 | 815846013059 | Warmup Under Floor Mat Heater, 240V, 2520W, 10.5 amps, Covers 180 sq ft of heated area | 2148
Stickymat | DWM-240-3080 | 815846013066 | Warmup Under Floor Mat Heater, 240V, 3080W, 12.8 amps, Covers 220 sq ft of heated area | 2519
Stickymat | DWM-240-3240 | 815846013073 | Warmup Under Floor Mat Heater, 240V, 3240W, 13.5 amps, Covers 240 sq ft of heated area | 2674
Indoor - Insulation | WCI-01 | 815846015879 | Warmup Ultralight Underfloor Heating Board - NAM. 4' x 2' x 1/4" (1219mm x 610mm x 6mm) Single board | 42
Foil Heater | FOIL-20-240 | 815846012250 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 240W, 1 amp, 1.6'W x 12.2'L, Covers 20 Sq Ft of heated area | 328
Foil Heater | FOIL-25-240 | 815846012267 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 300W, 1.3 amp, 1.6'W x 15.3'L, Covers 25 Sq Ft of heated area | 349
Foil Heater | FOIL-40-240 | 815846012274 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 480W, 2 amps, 1.6'W x 24.5'L, Covers 40 Sq Ft of heated area | 464
Foil Heater | FOIL-50-240 | 815846012281 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 600W, 2.5 amps, 1.6'W x 30.6'L, Covers 50 Sq Ft of heated area | 589
Foil Heater | FOIL-60-240 | 815846012298 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 720W, 3 amps, 1.6'W x 36.7'L, Covers 60 Sq Ft of heated area | 709
Foil Heater | FOIL-70-240 | 815846012304 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 840W, 3.5 amps, 1.6'W x 42.8'L, Covers 70 Sq Ft of heated area | 829
Foil Heater | FOIL-95-240 | 815846012311 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1140W, 4.8 amps, 1.6'W x 57.1'L, Covers 95 Sq Ft of heated area | 1119
Foil Heater | FOIL-115-240 | 815846012328 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1380W, 5.8 amps, 1.6'W x 70.1'L, Covers 115 Sq Ft of heated area | 1249
Foil Heater | FOIL-130-240 | 815846012335 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1560W, 6.5 amp, 1.6'W x 79.3'L, Covers 130 Sq Ft of heated area | 1429
Foil Heater | FOIL-140-240 | 815846012342 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1680W, 7.0 amps, 1.6'W x 85.4'L, Covers 140 Sq Ft of heated area | 1579
Indoor - Insulation | WIB-SOFT-1/4-110 | 815846015725 | 1/4" thermal and sound underlayment for FOIL installations. Sold in full rolls of 110 sqft. | 168
Heated Towel Rail | HTR-090PC | 815846015251 | Chelsea Round towel warmer with 6 curved bars. 201 stainless steel with polished finish. Built with 60W heating cable. | 648
Heated Towel Rail | HTR-001PC | 815846015190 | Single Bar, round. Each bar sold separately. 304 stainless steel with a Polished finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 164
Heated Towel Rail | HTR-002BN | 815846015206 | Single Bar, square. Each bar sold separately. 304 stainless steel with a Brushed Stainless finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 178
Heated Towel Rail | HTR-001MB | 5034526014703 | Single Bar, round. Each bar sold separately. 304 stainless steel with a Matte Black finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 164
Heated Towel Rail | HTR-002MB | 5034526014697 | Single Bar, square. Each bar sold separately. 304 stainless steel with a Matte Black finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 178
Heated Towel Rail | HTR-091PC | 815846015268 | Chelsea Round towel warmer with 6 straight bars. 201 stainless steel construction with polished finish. Built with 60W heating cable. | 485
Heated Towel Rail | HTR-107BN | 815846015282 | Times Square towel warmer with 7 square bars. 201 stainless steel with Brushed finish. Built with 80W heating cable. | 646
Heated Towel Rail | HTR-110BN | 815846015299 | Times Square towel warmer with 10 square bars. 201 stainless steel with Brushed finish. Built with 110W heating cable. | 832
Heated Towel Rail | HTR-091MB | 815846015602 | Chelsea Round towel warmer with 6 straight bars. 201 stainless steel construction with Matte Black finish. Built with 60W heating cable. | 515
Inscreed | WODH-240/500 | 815846010799 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 93'L, 500W, 2.1 amps. Covers 24-39 sq ft of heated area. | 383
Inscreed | WODH-240/950 | 815846010744 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 176'L, 950W, 4.0 amps. Covers 44-74 sq ft of heated area. | 586
Inscreed | WODH-240/1300 | 815846010751 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 250'L, 1300W, 5.4 amps. Covers 62-104 sq ft of heated area. | 674
Inscreed | WODH-240/1700 | 815846010768 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 312'L, 1700W, 7.1 amps. Covers 76-130 sq ft of heated area. | 861
Inscreed | WODH-240/2400 | 815846010775 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 437'L, 2400W, 10.0 amps. Covers 105-182 sq ft of heated area. | 1159
Inscreed | WODH-240/3400 | 815846010782 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 625'L, 3400W, 14.2 amps. Covers 155-260 sq ft of heated area. | 1364
Roof Gutter | WRGH-SB-170 | 87086000445 | The SB170 is a versatile adhesive to apply the Warmup ROOF-CLIP (1 tube per 50 clips recommended). Min Application Temp of -20F | 47
Roof Gutter | WRGH-120-150 | 815846014773 | 30ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 150 Watts. Includes roof clips and spacers. | 121
Roof Gutter | WRGH-120-300 | 815846014780 | 60ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 300 Watts. Includes roof clips and spacers. | 157
Roof Gutter | WRGH-120-400 | 815846014797 | 80ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 400 Watts. Includes roof clips and spacers. | 199
Roof Gutter | WRGH-120-500 | 815846014803 | 100ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 500 Watts. Includes roof clips and spacers. | 225
Roof Gutter | WRGH-120-600 | 815846014810 | 120ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 600 Watts. Includes roof clips and spacers. | 279
Roof Gutter | WRGH-120-800 | 815846014827 | 160ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 800 Watts. Includes roof clips and spacers. | 330
Roof Gutter | WRGH-120-1000 | 815846014834 | 200ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 1,000 Watts. Includes roof clips and spacers. | 393
Roof Gutter | WRGH-120-1200 | 815846014841 | 240ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 1,200 Watts. Includes roof clips and spacers. | 428
Outdoor Controller | ODC-WRS-2 | 815846014858 | Moisture & Temperature Controller for Warmup WRGH Roof & Gutter De-icing Kits | 163
Pipe Freeze | SR-5W-1-250-U | 815846015695 | 250ft spool of unjacketed SR cable, 120V, 5W linear at 50F. For Indoor Pipe Protection only. | 880
Pipe Freeze | SR-K6UJ | 815846015770 | Unjacketed Self Regulating Heater Cable Kit, 120V, 6ft long pre-terminated with Plug For indoor residential pipe protection use only | 63
Pipe Freeze | SR-K12UJ | 815846015787 | Unjacketed Self Regulating Heater Cable Kit, 120V, 12ft long pre-terminated with Plug For indoor residential pipe protection use only | 81
Pipe Freeze | SR-K18UJ | 815846015794 | Unjacketed Self Regulating Heater Cable Kit, 120V, 18ft long pre-terminated with Plug For indoor residential pipe protection use only | 97
Pipe Freeze | SR-K24UJ | 815846015800 | Unjacketed Self Regulating Heater Cable Kit, 120V, 24ft long pre-terminated with Plug For indoor residential pipe protection use only | 114
Pipe Freeze Accessories | SR-HTMK | 815846015749 | Plug-in power connection kit for Pipe Protection Cable | 40
Pipe Freeze Accessories | SR-TAPE-UJ | 815846015817 | Adhesive Tape for UJ Cable series ½” W x 66’ L | 28
Pipe Freeze/R&G | SR-K6 | 815846011147 | Self Regulating Heater Cable Kit, 120V, 6 ft long pre-terminated with Plug | 104
Pipe Freeze/R&G | SR-K12 | 815846011154 | Self Regulating Heater Cable Kit, 120V, 12ft long pre-terminated with Plug | 151
Pipe Freeze/R&G | SR-K18 | 815846011161 | Self Regulating Heater Cable Kit, 120V, 18 ft long pre-terminated with Plug | 192
Pipe Freeze/R&G | SR-K24 | 815846011130 | Self Regulating Heater Cable Kit, 120V, 24ft long pre-terminated with Plug | 214
Pipe Freeze/R&G | SR-K50 | 815846011178 | Self Regulating Heater Cable Kit, 120V, 50ft long pre-terminated with Plug | 392
Pipe Freeze/R&G | SR-K75 | 815846014117 | Self Regulating Heater Cable Kit, 120V, 75ft long pre-terminated with Plug | 482
Pipe Freeze/R&G | SR-K100 | 815846014124 | Self Regulating Heater Cable Kit, 120V, 100ft long pre-terminated with Plug | 614
Pipe Freeze/R&G | SR-5W-1-1000 | 815846013653 | Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 1000-foot spools. | 8458
Pipe Freeze/R&G | SR-8W-1-1000 | 815846013660 | Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 1000-foot spools. | 8707
Pipe Freeze/R&G | SR-5W-2-1000 | 815846013684 | Self-Regulated cable, 208-277V, 5 Watts per linear foot. Sold in 1000-foot spools. | 8458
Pipe Freeze/R&G | SR-8W-2-1000 | 815846013691 | Self-Regulated cable, 208-277V, 8 Watts per linear foot. Sold in 1000-foot spools. | 8707
Pipe Freeze/R&G | SR-5W-1-250 | 815846013714 | Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 250-foot spools. | 2116
Pipe Freeze/R&G | SR-5W-2-250 | 815846013745 | Self-Regulated cable, 208-277V, 5 Watts per linear foot. Sold in 250-foot spools. | 2116
Pipe Freeze/R&G | SR-8W-1-250 | 815846013721 | Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 250-foot spools. | 2178
Pipe Freeze/R&G | SR-8W-2-250 | 815846013752 | Self-Regulated cable, 208-277V, 8 Watts per linear foot. Sold in 250-foot spools. | 2178
Pipe Freeze/R&G | SR-5W-1-500 | 815846015534 | Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 500-foot spools. | 4230
Pipe Freeze/R&G | SR-8W-1-500 | 815846015541 | Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 500-foot spools. | 4355
Pipe Freeze/R&G | SR-5W-2-500 | 815846015558 | Self-Regulated cable, 240V, 5 Watts per linear foot. Sold in 500-foot spools. | 4230
Pipe Freeze/R&G | SR-8W-2-500 | 815846015565 | Self-Regulated cable, 240V, 8 Watts per linear foot. Sold in 500-foot spools. | 4355
Pipe Freeze/R&G Accessories | CRDS-15-GFI | 815846010164 | GFCI cord set for SR cable series. NEMA 5-15p, 15 amp rated, 14/3 Ga, 120V. rating, Max Cable length 125ft. | 121
Pipe Freeze/R&G Accessories | SR-POWER-KIT | 815846010461 | Power Connection Kit for Self-Regulated Cable. Includes pipe mounting bracket and an End Kit. | 88
Pipe Freeze/R&G Accessories | SR-SPLICE-KIT | 815846010478 | Splice/Tee Kit for Self-Regulated Cable. Includes (2) end caps. | 59
Pipe Freeze/R&G Accessories | SR-END-KIT | 815846010485 | End Seal Kit for for Self-Regulating Cable | 31
Pipe Freeze/R&G Accessories | SR-ROOF-CLIP | 815846013783 | Metal single roof clips packaged and sold 50 per pkg. Secure to roof with screws or Everseal SB-190 adhesive or similar. | 149
Pipe Freeze/R&G Accessories | SR-HANGER-KIT | 815846010508 | Downspout Hanger for Self Regulating Cable and Roof/gutter heaters Warmup Brand #HANGER-KIT | 30
Pipe Freeze/R&G Accessories | SR-SFIT-TEE | 815846014407 | Weather tight 3-way Tee-Splice for NAMSR cable applications on Roofs and Pipe Freeze installations | 99
Pipe Freeze/R&G Accessories | SR-SFIT-BOX-S | 815846016111 | Power Connection Junction Box (Square) for NAMSR cables used in Pipe Freeze Protection applications. Includes pipe-mounting bracket and junction box. | 313
Pipe Freeze/R&G Accessories | SR-PLUG | 815846015718 | Automatic Thermostatic Plug for Pipe Protection and Roof Deicing | 33
Pipe Freeze/R&G Accessories | SR-LENDCAP | 815846015701 | Lit End Cap for NAMSR Cable | 384
Pipe Freeze/R&G Accessories | SR-LBL | 815846010522 | Caution Label for Self Regulating Cable (10) | 29
Pipe Freeze/R&G Accessories | SR-TAPE-AL | 815846013806 | Aluminum Foil Tape for Self Regulating Cable or FOIL, 90 ft Roll. | 29
Pipe Freeze/R&G Accessories | SR-SFIT-SPL | 815846014391 | In-line connection box for NAMSR, WODH and WSM/M cables. Used to join two runs of NAMSR or as an in-line repair kit for WSMM installations | 92
Snow Melt Cable | WSM-480/1000 | 815846014308 | Snow Melting Cable, 83.8'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 480V, 1000W, 2.08 amps, Covers 20-34 Sq ft of heated area | 346
Snow Melt Cable | WSM-480/2500 | 815846014315 | Snow Melting Cable,209'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 5.21 Amps, 480V, 2500W. | 689
Snow Melt Cable | WSM-480/4000 | 815846014322 | Snow Melting Cable, 342.2'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 480V, 4000W, 8.33 amps, Covers 85-135 Sq ft of heated area | 984
Snow Melt Cable | WSM-480/6000 | 815846014339 | Snow Melting Cable, 513.25'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 12.5 Amps, 480V, 6000W. Covers 122-200 Sq Ft of heated area | 1411
Snow Melt Cable | WSM-600/1000 | 5034526014857 | Snow Melting Cable, 83.8'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 600V, 1000W, 1.7 amps, Covers 20-34 Sq ft of heated area | 345
Snow Melt Cable | WSM-600/2500 | 5034526014864 | Snow Melting Cable,209'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 4.2 Amps, 600V, 2500W. | 687
Snow Melt Cable | WSM-600/4000 | 5034526014871 | Snow Melting Cable, 342.2'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 600V, 4000W, 6.7 amps, Covers 85-135 Sq ft of heated area | 983
Snow Melt Cable | WSM-600/6000 | 5034526014888 | Snow Melting Cable, 500'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 10 Amps, 600V, 6000W. Covers 122-200 Sq Ft of heated area | 1410
Snow Melt Cable | WSM-240/1000 | 815846012458 | Snow Melting Cable, 84'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 1000W, 4.2 amps, Covers 20-34 Sq ft of heated area | 339
Snow Melt Cable | WSM-240/2000 | 815846011710 | Snow Melting Cable,168'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 8.3 Amps, 240V, 2000W. Covers 43-72 Sq Ft of heated area | 523
Snow Melt Cable | WSM-240/2500 | 815846012465 | Snow Melting Cable, 209'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 2500W, 10.4 amps, Covers 51 to 84 Sq Ft of heated area | 672
Snow Melt Cable | WSM-240/3000 | 815846011727 | Snow Melting Cable,251', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 12.5 Amps, 240V, 3000W. Covers 62-104 Sq Ft of heated area | 724
Snow Melt Cable | WSM-240/4000 | 815846014025 | Snow Melting Cable, 335', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 4000W, 16.7 amps, Covers 85-135 Sq ft of heated area | 957
Snow Melt Cable | WSM-240/5000 | 815846011741 | Snow Melting Cable, 420, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 20.8 Amps, 240V, 5000W. Covers 100-170 Sq Ft of heated area | 1159
Snow Melt Cable | WSM-240/6000 | 815846011758 | Snow Melting Cable, 500'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 25 Amps, 240V, 6000W. Covers 122-200 Sq Ft of heated area | 1372
Snow Melt Mat | WSMM-240/500 | 856604000294 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 10 sq ft - 2'W x 5'L, 2.1 amps, 500W | 247
Snow Melt Mat | WSMM-240/1000 | 856604000379 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 20 sq ft - 2'W x 10'L, 4.2 amps, 1000W | 422
Snow Melt Mat | WSMM-240/1500 | 856604000386 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 30 sq ft - 2'W x 15'L, 6.3 amps, 1500W | 557
Snow Melt Mat | WSMM-240/2000 | 856604000393 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 40 sq ft - 2'W x 20'L, 8.3 amps, 2000W | 660
Snow Melt Mat | WSMM-240/2500 | 856604000416 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 50 sq ft - 2'W x 25'L, 10.4 amps, 2500W | 739
Snow Melt Mat | WSMM-240/3000 | 815846013950 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 60 sq ft - 2'W x 30'L, 12.5 amps, 3000W | 924
Snow Melt Mat | WSMM-240/3500 | 815846013967 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 70 sq ft - 2'W x 35'L, 14.6 amps, 3500W | 1021
Snow Melt Mat | WSMM-240/4000 | 815846013974 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 80 sq ft - 2'W x 40'L, 16.7 amps, 4000W | 1121
Snow Melt Mat | WSMM-240/4500 | 815846013981 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 90 sq ft - 2'W x 45'L, 18.8 amps, 4500W | 1211
Snow Melt Mat | WSMM-240/5000 | 856604000423 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 100 sq ft - 2'W x 50'L, 20.8 amps, 5000W | 1334
Snow Melt Mat | WSMM-240/6000 | 856604000430 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 120 sq ft - 2'W x 60'L, 25 amps, 6000W | 1601
Snow Melt Mat | WSMM-240/3x10 | 815846013998 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 30 sq ft - 3'W x 10'L, 6.3 amps, 1500W | 565
Snow Melt Mat | WSMM-240/3x20 | 815846014049 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 60 sq ft - 3'W x 20'L, 12.5 amps, 3000W | 904
Snow Melt Mat | WSMM-240/3x25 | 815846014032 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 75 sq ft - 3'W x 25'L, 15.6 amps, 3750W | 1031
Snow Melt Mat | WSMM-240/3x30 | 815846014001 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 90 sq ft - 3'W x 30'L, 18.8 amps, 4500W | 1238
Snow Melt Mat | WSMM-240/3x40 | 815846014018 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 120 sq ft - 3'W x 40'L, 25 amps, 6000W | 1437
Snow Melt Mat | WSMM-480/1500 | 815846014254 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 30 sq ft - 2'W x 15'L, 3.13 amps, 1500W | 562
Snow Melt Mat | WSMM-480/2000 | 815846014261 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 40 sq ft - 2'W x 20'L, 4.17 amps, 2000W | 666
Snow Melt Mat | WSMM-480/3000 | 815846014278 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 60 sq ft - 2'W x 30'L, 6.25 amps, 3000W | 933
Snow Melt Mat | WSMM-480/4000 | 815846014285 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 80 sq ft - 2'W x 40'L, 8.33 amps, 4000W | 1143
Snow Melt Mat | WSMM-480/6000 | 815846014292 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 120 sq ft - 2'W x 60'L, 12.50 amps, 6000W | 1614
Snow Melt Cable | WSM-NMP | 5034526004520 | Branded Name Plate for use with Warmup Snow Melt Heater installations (NEC426-13) | 56
Accessories | SR-ZT-100 | 815846015411 | Bag of 100 Heavy Duty Zip Ties (100). 7" long. For use with WSM, WODH and NAMSR cable series. 50lbs load bearing capacity. | 27
Outdoor Controller | ODC-ASE-DS2C | 815846015008 | Snow/Ice Melt All-In-One Control Unit, 1 Zone control, ground and roof, 115/230VAC, 30 amps | 936
Outdoor Controller | ODC-ASE-DS5C | 815846015015 | Snow/Ice Melt All-In-One Control Unit, 2 Zone control, ground and roof, 115/230VAC, 60 amp (2 x 30 amps) | 1083
Outdoor Controller | ODC-ASE-DS8C | 815846015022 | Snow/Ice Melt Control Unit, 100-277 VAC Universal Input Power Supply, 1-30A SPST Load Contactor. remote moisture sensor, ground and roof, 115/230VAC | 1085
Outdoor Controller | ODC-ASE-DS9C | 720825512327 | The DS-9C is a Roof & Gutter controller with 2x30A resistive load capacity. | 1153
Outdoor Controller | ODC-CDP-2 | 815846012175 | Indoor Monitoring and Control for Roof & Gutter Cable, Self Powered, fits Any Standard Single Gang or multi gang electrical enclosure. Fits all DS series controllers. | 373
Outdoor Controller | ODC-CS-50 | 815846015756 | 50ft connection kit between DS Controller and CDP-2 remote | 159
Outdoor Controller | ODC-GF-1 | 720825511900 | In-line Ground Fault Equipment Protection Device for one circuit up to 60A load at 120/208/240V. 30mA trip level. NEMA 4X/IP65 enclosure. | 922
Outdoor Controller | ODC-GF-2 | 720825511917 | In-line Ground Fault Equipment Protection Device for two circuits up to 63A load each at 120/208/240V. 30mA trip level. NEMA 4X/IP65 enclosure | 1298
Outdoor Controller | WSM-200 | 815846016074 | Warmup's Timer Panel for Snow Melting applications. Will handle up to 200A/240V with 8-30A GFEP protected contactors | 4772
Outdoor Controller | WSM-200-WIFI | 815846016067 | Warmup's WIFI Snow Melting Controller. Will handle up to 200A/240V with 8-30A GFEP protected contactors. | 5210
Outdoor Controller | ODC-RESIBOX3 | 815846015060 | Plug-and-Play outdoor controller with 4 x 30A/2pole contactors allowing for a total load of 120A with a minimum power supply of 36A. Comes in LED enclosure with GFEP protection, built-in Digital controller and ground temperature sensor. AIRSense sold separately. | 5399
Outdoor Controller | ODC-COMBOX600 | 856604000478 | Plug-and-Play outdoor controller with 4 x 50A/3pole contactors allowing for a total load of 600A with a minimum power supply of 150A (3-phase power). 230A Max load at 240V supply. Comes in LED enclosure with GFEP protection, built-in Digital controller and ground temperature sensor. 3-Phase power and any transformers are the responsibility of the Electrical Contractor. AirSense sold separately. | 7853
Outdoor Controller | ODC-AIRSS | 856604000485 | Outdoor moisture and temperature sensor | 1108
Outdoor Controller | ODC-AIRSS-B | 815846015459 | Mounting bracket for AirSense Sensor | 281
Outdoor Controller | ODC-ET02-4550 | 856604000973 | Control Unit for Snow Melting and Roof & Gutter applications, 2 Zone control, 115/230VAC, 3 x 15 amp dry contacts. Works with ETOR and/or ETOG sensors. Requires external relay contactors to operate and switch loads/heating cables. | 1216
Outdoor Controller | ODC-ETOR-55 | 815846010171 | Roof Sensor for use with Snow/Ice Control USET02-4450 - Detects moisture, temperature and precipitation. | 663
Outdoor Controller | ODC-ETOK | 815846015046 | The ETOK-1 is an installation cup for the Snow and Ice Melting Ground Sensor ETOG-56. | 121
Outdoor Controller | ODC-SIT-6E-H | 815846014438 | Housing for SIT-6E sensor | 253
Outdoor Controller | ODC-FPT-130 | 815846015145 | Automatic Freeze Protection Controller with 2P contactors up to 30A and integral GFEP | 0
Outdoor Controller | TRF115-005 | 815846010874 | Line voltage controller 120v - 277v, NEMA 4X enclosure with remote temperature sensor. | 309
Outdoor Controller | ODC-TRACE-2 | 815846015473 | Heat Tracing Controller with built-in GFEP protection and 30A load switching capability. | 1917